## Cisco Routers
Line Item | Part Number | Manufacturer | Part Description | Qty | Delivery Address
1 | CISCO3925/K9 | Cisco | Cisco 3925 w/SPE100(3GE,4EHWIC,4DSP,2SM,256MBCF,1GBDRAM,IPB) | 4 | Infocrossing, Inc. Attn: Linda Huffcutt 11707 Miracle Hills Drive Omaha, NE 68154
2 | SM-NM-ADPTR | Cisco | Network Module Adapter for SM Slot on Cisco 2900, 3900 ISR | 2 | Omaha, NE (see above)
3 | PWR-3900-AC | Cisco | Cisco 3925/3945 AC Power Supply | 4 | Omaha, NE (see above)
4 | PWR-3900-AC/2 | Cisco | Cisco 3925/3945 AC Power Supply (Secondary PS) | 4 | Omaha, NE (see above)
5 | CAB-C13-C14-AC | Cisco | AC Power Cord (North America), C13,C14 Connectors, 3m | 8 | Omaha, NE (see above)
6 | CAB-CONSOLE-RJ45 | Cisco | Console Cable 6ft with RJ45 and DB9F | 4 | Omaha, NE (see above)
7 | 3900-FANASSY | Cisco | Cisco 3925/3945 Fan Assembly (Bezel included) | 8 | Omaha, NE (see above)
8 | C3900-SPE100/K9 | Cisco | Cisco Services Performance Engine 100 for Cisco 3925 ISR | 4 | Omaha, NE (see above)
9 | SL-39-IPB-K9 | Cisco | IP Base License for Cisco 3925/3945 | 4 | Omaha, NE (see above)
10 | HWIC-BLANK | Cisco | Blank faceplate for HWIC slot on Cisco ISR | 4 | Omaha, NE (see above)
11 | ISR-CCP-EXP | Cisco | Cisco Config Pro Express on Router Flash | 4 | Omaha, NE (see above)
12 | MEM-3900-1GB-DEF | Cisco | 1GB DRAM (512MB+512MB) for Cisco 3925/3945 ISR (Default) | 4 | Omaha, NE (see above)
13 | MEM-CF-256MB | Cisco | 256MB Compact Flash for Cisco 1900, 2900, 3900 ISR | 4 | Omaha, NE (see above)
14 | SM-D-BLANK | Cisco | Blank faceplate for DW slot on Cisco 2951 and 3925 | 4 | Omaha, NE (see above)
15 | SM-S-BLANK | Cisco | Removable faceplate for SM slot on Cisco 2900,3900,4400 ISR | 4 | Omaha, NE (see above)
16 | S39UK9-15503M | Cisco | Cisco 3925-3945 IOS UNIVERSAL | 4 | Omaha, NE (see above)
17 | CON-SNT-3925 | Cisco | SmartNet Maintenance - Cisco CISCO3925/K9 Router, 8x5xNBD, 5 YR | 4 | Omaha, NE (see above)
18 | CISCO3925/K9 | Cisco | Cisco 3925 w/SPE100(3GE,4EHWIC,4DSP,2SM,256MBCF,1GBDRAM,IPB) | 2 | Infocrossing, Inc. Attention: Terry Reese 2005 E Technology Circle Tempe, AZ 85284
19 | SM-NM-ADPTR | Cisco | Network Module Adapter for SM Slot on Cisco 2900, 3900 ISR | 2 | Tempe, AZ (see above)
20 | PWR-3900-AC | Cisco | Cisco 3925/3945 AC Power Supply | 2 | Tempe, AZ (see above)
21 | PWR-3900-AC/2 | Cisco | Cisco 3925/3945 AC Power Supply (Secondary PS) | 2 | Tempe, AZ (see above)
22 | CAB-C13-C14-AC | Cisco | AC Power Cord (North America), C13,C14 Connectors, 3m | 4 | Tempe, AZ (see above)
23 | CAB-CONSOLE-RJ45 | Cisco | Console Cable 6ft with RJ45 and DB9F | 2 | Tempe, AZ (see above)
24 | 3900-FANASSY | Cisco | Cisco 3925/3945 Fan Assembly (Bezel included) | 2 | Tempe, AZ (see above)
25 | C3900-SPE100/K9 | Cisco | Cisco Services Performance Engine 100 for Cisco 3925 ISR | 2 | Tempe, AZ (see above)
26 | SL-39-IPB-K9 | Cisco | IP Base License for Cisco 3925/3945 | 2 | Tempe, AZ (see above)
27 | HWIC-BLANK | Cisco | Blank faceplate for HWIC slot on Cisco ISR | 2 | Tempe, AZ (see above)
28 | ISR-CCP-EXP | Cisco | Cisco Config Pro Express on Router Flash | 2 | Tempe, AZ (see above)
29 | MEM-3900-1GB-DEF | Cisco | 1GB DRAM (512MB+512MB) for Cisco 3925/3945 ISR (Default) | 2 | Tempe, AZ (see above)
30 | MEM-CF-256MB | Cisco | 256MB Compact Flash for Cisco 1900, 2900, 3900 ISR | 2 | Tempe, AZ (see above)
31 | SM-D-BLANK | Cisco | Blank faceplate for DW slot on Cisco 2951 and 3925 | 2 | Tempe, AZ (see above)
32 | SM-S-BLANK | Cisco | Removable faceplate for SM slot on Cisco 2900,3900,4400 ISR | 2 | Tempe, AZ (see above)
33 | S39UK9-15503M | Cisco | Cisco 3925-3945 IOS UNIVERSAL | 2 | Tempe, AZ (see above)
34 | CON-SNT-3925 | Cisco | SmartNet Maintenance - Cisco CISCO3925/K9 Router, 8x5xNBD, 5 YR | 2 | Tempe, AZ (see above)