- Question:  How many fire sprinkler risers are in the building?

Answer: 1.

- Question:  How many waterflow and tamper switches?

Answer:  (2) Water flows & (6) Tampers.

- Question:  Is there only one fire pump? Electric or Diesel? How many GPM?

Answer: (1) Diesel- 500 GPM

- Question:  How many PIV’s on the property?

Answer:  No PIV’s, but (2) Main OS&Y’s