## Instructions
Attachment C1
Proposed Equipment Form
Region: | BANCRO
Proposer:
Instructions for completing Attachment C1
1) All yellow cells must be filled by Proposer. Failure to provide required information may result in rejection of the Proposal as non-responsive.
General instructions:
1) Complete one Attachment C1 for each region for which your are submitting a proposal.
2) Fill in ALL yellow cells.
3) Do NOT alter gray cells.
4) Instructions and notes for each worksheet are shown at the top of the worksheet.
Steps for completing Attachment C1:
1) Review the information provided in the Site Data worksheet and Existing Generator Details worksheet to inform your Proposal.
2) Complete ALL required information in the System Specification PV-Only worksheet and System Specification PV+BESS worksheet as indicated by the yellow cells.
Questions regarding completing Attachment C1, the Project, or the RFP:
Questions concerning how to fill out Attachment C1 or those that pertain generally to the Project, RFP, or Proposal must be emailed to the address specified in the RFP, BEFORE the due date and time for RFP questions submission. Questions submitted after the published due date and time may not be answered, however, if at any time you find some part of the spreadsheet is not working properly please notify the Judicial Council through the channels outlined in the RFP. The spreadsheet is locked. Attempts to unlock the spreadsheet or modify its functions are grounds for disqualification of the Proposer.

## Site Data
Attachment C1, Site Data
Proposed Equipment Form
Region: | BANCRO
Proposer: | 0
[12 empty] | Microgrid Proposal | [7 empty] | PV-Only | IA System Sizes (PV+BESS)
Site Number | Site Name | Site ID | Service Address | Service Provider | Service Account ID | Meter ID | Current Tariff | Post-Construction Tariff | Tie-in or NEMA | Current Annual Electricity Usage (kWh) | Year 1 Target PV Production (kWh) | Minimum BESS Capacity Reserved for Resiliency (kWh) | Rooftop Solar Available | Roof Area to be Replaced (if Rooftop array included in design) (sqft) | Roof Material | Rooftop notes | SPPA or SEL | SPPA/SEL Term (yrs) | IA Status | Max PV Size | PV kW AC | PV kW DC | PV kW CEC-AC | BESS kWh | BESS kW AC | Include
1 | Fremont Hall of Justice | 01-H1 | 39439 PASEO PADRE PKWY., FREMONT, CA 94538 | PG&E / EBCE | 4726262076 | 1009904834 | A-6 BrightChoice | A-6 BrightChoice | Tie-in | 816392.4 | 735000 | 210 | Yes | 52000 | Modified Bitumen | Roof replacement required if roof is used | SPPA | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 791.1 | 828.54 | 768.9353 | 464 | 140 | Yes
2 | Bray Courts | 07-A3 | 1020 WARD ST., MARTINEZ, CA 94553 | PG&E | 0010715483 | 9279R9 | B-10S | B-10S | Tie-in | 750125.2 | 675000 | 315 | Yes | 0 | Single Ply Roofing |  | SPPA | 18 | Deemed Complete | <1 MW AC and ≤90% offset | 100 | 85.44 | 77.4207 | 696 | 210 | Yes
3 | Richard E. Arnason Justice Center | 07-E3 | 1000 CENTER DRIVE, PITTSBURG, CA 94565 | PG&E / MCE | 8451993330 | 1010423032 | B-19S | B-19S Option R | Tie-in | 833400.9015 | 750000 | 315 | No | N/A |  |  | SPPA | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 550 | 559.2 | 506.7138 | 696 | 210 | Yes
4 | Walnut Creek Courthouse | 07-C1 | 640 YGNACIO VALLEY RD., WALNUT CREEK, CA 94596 | PG&E / MCE | 8403814112 | 1009408792 | B-10S | B-10S | Tie-in | 183000.6 | 165000 | 105 | No | N/A |  |  | SPPA | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 133.2 | 141.12 | 127.8746 | 232 | 70 | Yes
5 | San Benito County Superior Court | 35-C1 | 450 FOURTH STREET, HOLLISTER, CA 95023 | PG&E / CCCE | 2875021063 | 1010260264 | B-10S | B-10S | Tie-in | 476762.32 | 429000 | 210 | No | N/A |  |  | SPPA | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 333 | 330.24 | 299.2439 | 464 | 140 | Yes
6 | Northern Branch Courthouse | 41-C1 | 1050 MISSION RD., SOUTH SAN FRANCISCO, CA 94080 | PG&E / PCE | 7980429711 | 1009540401 | B-10S | B-10S | Tie-in | 401119.88 | 361000 | 105 | No | N/A |  |  | SPPA | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 150 | 168 | 152.2316 | 232 | 70 | Yes
7 | Downtown Superior Court | 43-B1 | 191 N. FIRST ST., SAN JOSE, CA 95113 | PG&E / SJCE | 1862243249 | 0P1390 | B-19S | B-19S Option R | Tie-in | 2079047.03 | 1871000 | 525 | No | N/A |  |  | SPPA | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 333 | 354.24 | 320.9913 | 1160 | 350 | Yes
[9 empty] | Project Totals | 5539848.3315 | 4986000 | 1785
Notes:
Current Annual Electricity Usage (kWh) is based on the interval usage profiles for CY2019 where available. Dates are shown in interval data file.
Roof Area is only listed for sites that shall include roof replacement costs as a project development cost if the rooftop is used.
Some sites require a Solar Equipment Lease (SEL) rather than a SPPA. Each worksheet specifies which pricing is being requested.

## Existing Generator Details
Attachment C1, Existing Generator Details
Proposed Equipment Form
Region: | BANCRO
Proposer: | 0
Site Number | Site Name | Site ID | Include | Onsite Emergency Generator (Y/N) | Onsite Generator Location | Onsite Generator Manufacturer | Onsite Generator Model | Onsite Generator Serial Number | Generator In Service Date | Generator HP | Generator Voltage | Generator Amps | Generator Fuel Type | Generator Phase | Generator Notes | Generator Floor Number | Generator Room Number | Generator Room Description | Generator Drawing Location | Generator Manual Location | Generator Permit To Operate | Generator Permitting Agency
1 | Fremont Hall of Justice | 01-H1 | Yes | Y | Floor 4, Boiler Room | Kohler | 100RO271 | 482095 | 1976-01-01 | 180 | 480 | NA | Diesel | 3 | Diesel engine: White Model NA, serial number 4003796, 478 cu. in. | ALL | Boiler Room | Floor 4, Boiler Room | Air Compressor room | Maintenance Office | YES | Bay Area AQMD
2 | Bray Courts | 07-A3 | Yes | Y | Roof | Empire Generator Corp. | 600DKW-8E | 371-298 | 1986-01-01 | 110 | 277/480 | 90 | Diesel | 3 | Diesel engine: Perkins Model 3711404A-1, Serial Number 36811443 Diesel belly tank: 60 gallons. | Roof | Roof | Roof | DNA | DNA | YES | Bay Area AQMD
3 | Richard E. Arnason Justice Center | 07-E3 | Yes | Y | EXTERIOR | CUMMINS | DFEH-44600033 | E100117640 | 2010-11-15 | 755 | 460 | DNA | Diesel | 3 | 400KW. Diesel engine: Cummins Model QSX15-G9 Nonroad 2, year = 2010, serial number = NA Diesel belly tank: 660 gallons. | Exterior | NORTHWEST QUADRANT | EXTERIOR | MAINTENANCE OFFICE | MAINTENANCE OFFICE | Yes | Bay Area AQMD
4 | Walnut Creek Courthouse | 07-C1 | Yes | Y | East / Behind Sally Port | Onan | 6.0 Genset | DNA | Not available | 16.5 | 480 | DNA | Diesel | 3 | No Tag No Bay Area AQMD permit because HP < 50 Diesel engine: NA Model NA_ Diesel belly tank: 8 gallons | 0 | Cage | East / Behind Sally Port | DNA | DNA | No | Bay Area AQMD
5 | San Benito County Superior Court | 35-C1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
6 | Northern Branch Courthouse | 41-C1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
7 | Downtown Superior Court | 43-B1 | Yes | Y | TBD | TBD | TBD | TBD | 2010-04-23 | DNA | 188000 | 226 | Electric | 3 | generator serves bot 43-B1 ans 43-B2 | Grounds | Grounds | south side of building in fenced enclosure | fenced enclosure | DNA | Yes | Bay Area Air Quality Management District

## System Specification PV-Only
DIRECTIONS FOR COMPLETING THIS WORKSHEET 1) Proposers MUST fill in ALL yellow cells 2) Do not alter gray cells. 3) If a blend of modules sizes is proposed, list all model numbers and manufacturer and use a weighted average value for the DC STC Rating (Watts) in Column K.
Attachment C1, System Specification PV-Only
Proposed Equipment Form
Region: | BANCRO
Proposer: | 0
SOLAR PV SPECIFICATIONS
[5 empty] | PV Module Specification |  |  |  |  | Inverter Specification
Site Number | Site Name | Site ID | Include | Year 1 Target PV Production (kWh) | Manufacturer | Model No | DC STC Rating (Watts) | Module Quantity | PV Total DC System Size (kW-DC) | Manufacturer | Model No | Inverter Rating Range (kW-AC) (e.g. 36 kW-50 kW) | Inverter Quantity | PV Total AC System Size (kW-AC) | DC/AC Ratio
1 | Fremont Hall of Justice | 01-H1 | Yes | 735000 |  |  |  |  | 0 | [5 empty] | 0
2 | Bray Courts | 07-A3 | Yes | 675000 |  |  |  |  | 0 | [5 empty] | 0
3 | Richard E. Arnason Justice Center | 07-E3 | Yes | 750000 |  |  |  |  | 0 | [5 empty] | 0
4 | Walnut Creek Courthouse | 07-C1 | Yes | 165000 |  |  |  |  | 0 | [5 empty] | 0
5 | San Benito County Superior Court | 35-C1 | Yes | 429000 |  |  |  |  | 0 | [5 empty] | 0
6 | Northern Branch Courthouse | 41-C1 | Yes | 361000 |  |  |  |  | 0 | [5 empty] | 0
7 | Downtown Superior Court | 43-B1 | Yes | 1871000 |  |  |  |  | 0 | [5 empty] | 0
[8 empty] | Project Totals | 0 |  |  |  |  | 0 | 0

## System Specification PV+BESS
DIRECTIONS FOR COMPLETING THIS WORKSHEET 1) Proposers MUST fill in ALL yellow cells 2) Do not alter gray cells. 3) If a blend of modules sizes is proposed, list all model numbers and manufacturer and use a weighted average value for the DC STC Rating (Watts) in Column K. 4) Note: BESS Sizing (kW and kWh) are inputs in both Attachment C1 and C2. Please ensure that both forms contain the same values for each site.
Attachment C1, System Specification PV+BESS
Proposed Equipment Form
Region: | BANCRO
Proposer: | 0
[5 empty] | SOLAR PV SPECIFICATIONS | [10 empty] | BESS/MICROGRID SPECIFICATIONS
[5 empty] | PV Module Specification |  |  |  |  | Inverter Specification | [5 empty] | BESS Details | [5 empty] | Microgrid Details
Site Number | Site Name | Site ID | Include | Year 1 Target PV Production (kWh) | Manufacturer | Model No | DC STC Rating (Watts) | Module Quantity | PV Total DC System Size (kW-DC) | Manufacturer | Model No | Inverter Rating Range (kW-AC) (e.g. 36 kW-50 kW) | Inverter Quantity | PV Total AC System Size (kW-AC) | DC/AC Ratio | BESS Provider | Battery Manufacturer | Control System/Software Provider | kW | kWh | Total Footprint Req'd (sqft) | Management System Provider | Management System Manufacturer | Power Conversion System Provider | Power Conversion System Manufacturer | Controller Provider | Controller Manufacturer
1 | Fremont Hall of Justice | 01-H1 | Yes | 735000 |  |  |  |  | 0 | [5 empty] | 0
2 | Bray Courts | 07-A3 | Yes | 675000 |  |  |  |  | 0 | [5 empty] | 0
3 | Richard E. Arnason Justice Center | 07-E3 | Yes | 750000 |  |  |  |  | 0 | [5 empty] | 0
4 | Walnut Creek Courthouse | 07-C1 | Yes | 165000 |  |  |  |  | 0 | [5 empty] | 0
5 | San Benito County Superior Court | 35-C1 | Yes | 429000 |  |  |  |  | 0 | [5 empty] | 0
6 | Northern Branch Courthouse | 41-C1 | Yes | 361000 |  |  |  |  | 0 | [5 empty] | 0
7 | Downtown Superior Court | 43-B1 | Yes | 1871000 |  |  |  |  | 0 | [5 empty] | 0
[8 empty] | Project Totals | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0

## Lists (hidden)
#REF!
FORM C2, Lists
#REF!
Utility Company
PG&E
Yes/No |  | PPA Contact Term | Wire Type | Lease Types
Yes | Yes | 20 | Copper | Capital
No | No | 25 | Aluminum | Operating
Municipal
Tariff Lists |  |  | Active Tariff
PG&E | SCE | SDG&E | PG&E
A-1 | GS-1 |  | A-1
A-6 | GS-2 |  | A-6
A-10-S | GS-2-TOU-A |  | A-10-S
A-10-P | GS-2-TOU-R |  | A-10-P
A-10-T | RTP-2 |  | A-10-T
A-10 TOU-S | TOU-GS-1 |  | A-10 TOU-S
A-10 TOU-P | TOU-GS-3-A |  | A-10 TOU-P
A-10 TOU-T | TOU-GS-3-B |  | A-10 TOU-T
E-19-S | TOU-GS-3-R |  | E-19-S
E-19-P | TOU-8-A (<2kV) |  | E-19-P
E-19-T | TOU-8-B (<2kV) |  | E-19-T
TOU-8-R (<2kV)
Environmental Constants
CO2 lbs/kWh |  |  | Panel Mount Types
MEA |  |  | Ground
PG&E | 0.559 |  | Array Over Parking
SCE | 0.665 |  | Shade Structures
SDG&E | 0.915 |  | Roof Ballasted
Passenger Vehicle CO2/Year |  |  | Roof Racked
lbs CO2/Gal. | 19.643
Miles/yr | 12500 |  | Mounting types
MPG | 25 |  | Single Post, Single Cantilever
lbs CO2/car/yr | 9821.5 |  | Single Post, Double Cantalever
Trees |  |  | Multi-Post, non-Cantilever
lbs CO2/year/tree | 13
lbs CO2/year/acre | 5200