# Questions and Answers

Q: Who pays for structural engineer referenced on item #12 on Statement of Work (attachment #1 posted online)?

“12. All projectors and speakers are to be suspended from the building structure or attached to rated framing. It is the responsibility of the Contractor to provide a safe support system for the loudspeakers and projectors using rated hardware from the manufacturer. These suspension systems must be reviewed and approved by a licensed structural engineer.”

A: Structural engineering support for installation of unistrut or beam clamps onto building necessary for mounting of projector or screen will be provided by general contractor and DGS

Q: What equipment is to be included on the bid for the Library 500?

A: All equipment in Library 500 is OFE.  Video and audio signal from Courtroom 100 needs to be turned on/off from the control system in Courtroom 100.

Q: What equipment is to be included on the bid for the Training Room 402?

A:  Display, mount, and receiver in Training Room 402 are OFE.  Mounting services only are to be included on the bid.

Q: What equipment is to be included on the bid for the Conference Room 402A?

A:  Ceiling microphones, DSP, control system, switch, loud speakers, audio conferencing, playback device, 2 wireless microphones for local sound reinforcement (1 handheld, 1 lapel), plug-n-play wireless VGA/HDMI solution to be connected to computer source and AV switch.  Note: NO videoconferencing capabilities to be integrated with this system.  Satellite receiver is OFE to be displayed in both 402 and 402A rooms.

Q: Is this a prevailing wage project?

A: Yes

Q: Would you like the AV contractor to provide a performance Bond?

A: No

Q: Will the AV contractor need to provide just the infrastructure drawings for the conduit necessary or will they also be responsible for the installation of conduit?

A:  No, AV contractor is not required to install conduit for the project. All conduit will be installed by General Contractor.