Modular Buildings Construction and installation Program

|  | Your Organization’s Name: | Design Space Modular Buildings Inc |  |
| --- | --- | --- | --- |
| # | Solicitation Reference | Question | Response |
| 1 | - DVBE | Considering that this is a proposal and not an actual bid with a definite location, would the Contractor be required to meet the DVBE criteria for this proposal? Or will the contractor, if selected, complete the DVBE requirements on a job by job basis? | DVBE criteria need only be addressed if awarded a contract (i.e. you need not commit to DVBE participation or provide proof of a good faith effort to do so when you submit your proposal). |
| 2 | Proposal Schedule | Will a list of interested bidders be posted on 4/20 after the emailed letters of interest are received? | A list of interested bidders will not be posted |
| 3 | - RFP Section 3.2 | RFP Section 3.2 calls for “unmodified modular Building,” Please clarify/define “unmodified.” | Unmodified – means the building floor plan noted in the RFP. Modifications to this plan are expected based on Court needs. |
| 4 | - RFP Section 6.0 | Does the AOC foresee any of these buildings being returned at the end of the 5 or 10 year term? If so, teardown and return charges would need to be added to the pricing. | AOC does not expect or foresee returning the buildings. |
| 5 | Plans A-3 | Will wood studs be accepted in lieu of metal? | Wood studs will be accepted in lieu of metal. |
| 6 | - Plans A-2 | The section shows what appears to be a stem wall. What type of foundation should be bid? | Because the sites have not been determined, the required foundation work has also not been determined. Do not include cost for foundation work. |
| 7 | Plans A-2 | What type of decking/ramps should be bid: metal, concrete, or wood? | Metal. |
| 8 | Plans A-2 | What type of awning should be bid: metal or canvas? | Canvas |
| 9 | Specifications 1.4c | Please provide a detail specification for institutional grade glazing. There are several grades that have been specified in the past as institutional grade. | Use the most economical institutional grade glazing. |
| 10 | General | The delivery cost will vary from location to location. Each county has its own set of prevailing wage rates. How/where should this prototype floor plan be bid? | Because the site is not determined, travel costs should not be included. Typical installation and hook-up should be included. |
| 11 | Attachment B-Insurance | Professional Liability E&O insurance is not typically required by a contractor. There is a high annual cost associated with this insurance. Will this insurance be required as part of the contract? | Professional Liability insurance will not be required. Delete Article 20.B. v of the Legal Agreement. |
| 12 |  | Determining a price for an indefinite delivery is difficult. Is it possible to define your timeframe for delivery. | The quantities and locations needed are not yet specified. The contracts are intended to run for 3 years with 2 additional one year options electable by the State. The AOC has made a good faith effort to give you our current best idea of our near term needs in the RFP. |
| 13 |  | Please define turn-key. | Turn-key means the contractor has the ability perform all required task to complete the project in total. See section 2.0 for a list of those tasks. |
| 14 |  | Are there specific site requirements for individual sites? i.e., soils reports, site utility requirements, etc | Site requirements will be addressed on a site by site basis, and will be priced at the hourly rates you supply in your proposal, subject to solicitation of a work order via the contract. |
| 15 |  | Are performance and payment bonds required? | No. |
| 16 |  | Are certified payrolls required from our subs | The AOC fully expects the chosen contractor to comply with the prevailing wages provisions of the contract, and the contractor is subject to audit by the State if the State deems necessary. Therefore, certified payrolls will not be necessary. |
| 17 |  | Is a bid bond required | No. |
| 18 |  |  |  |
| 19 |  |  |  |
| 20 |  |  |  |