RFB Title: Automated External Defibrillator Upgrade and Service

RFB Number: RFB-BS-041415-DW

Question and Answer Posting

Q1:  What is the quantity of AEDs we are bidding on?

A1:  The total count of AED’s and wall mounts is listed on Attachment B. There are

64 AED’s and 45 wall mounts as needed for AED display for usage.

Q2:  First, I don’t read where it states anything regarding compliance. This would        include a prescription. AEDs are a Class III medical device by law you must have a prescription to own these AEDs. Yet, nothing is mentioned as to being provided one for the life of the units. This is also a California Title 22 requirement.

A2:  We expect all of the vendors will maintain compliance with all State and Federal regulations as they pertain to the procurement of an AED.

Q3:  Second, medical direction is also required per compliance and is a Title 22

requirement.

A3:  We expect all of the vendors will maintain compliance with all State and Federal regulations as they pertain to the procurement of an AED.

Q4:  Third, I also noticed you did not exclude or note anything regarding “outsourcing”.

A4:  We will not limit the vendor’s ability to compete for this procurement.

Q5:  Cabinets. You mentioned in the wording AEDs and cabinets but you are not specific as to what requirements a cabinet must meet. Is there a criteria? Meaning should it have an alarm (visual and/or audible)? Should it be able to comfortably house the AED? ADA requirements note a visual and audible alarm for cabinets.

A5:  The wall mounts should provide a storage location that allows easy access to the AED for usage in emergency situations.